# Conveyance Device Systems and Equipment

# Notification of Conveyance Device Systems Activity Laws and Rules

The state requirements for Conveyance Device Systems and Equipment Activity are listed in the Louisiana R.S. 40: 1646 B(1), B(2), and B(3), Inspection of Life Safety Systems and Equipment, and R.S. 40: 1664.1, et seq. Louisiana Life Safety & Property Protection Licensing Law. House Bill 618 amended R.S. 40:1646 to require annual conveyance device inspections, testing, and certification. It became Act 297 during the 2025 legislative session and was signed into law on June 11, 2025. It went into effect January 1, 2026.

The rules that authorize the Office of State Fire Marshal to promulgate and enforce Conveyance Device Systems and Equipment Activity are in the LAC (Louisiana Administrative Code) Public Safety 55:V.Chapter 33.

- Chapter 33 list rules for the registration and inspection process. All building owners/managers/representatives are required to register all conveyance devices prior to being inspected, tested, and certified. Instructions on how to register can be found at at https://www.lasfm.org/licensing/conveyance-devices/.

- After registration has been completed, the owner or representative shall have their conveyance devices inspected and tested by a licensed inspection and testing firm. A passing test and inspection will certify the conveyance device to receive a Certificate of Operation from the OSFM. The inspection firm will submit the passing results and the required $150.00 Conveyance Device Inspection fee to the OSFM. The $150.00 inspection fee does not include the cost of services provided by the inspection and service firms.

- Once payment is received, the Certificate of Operation will be sent to the inspection firm on behalf of the conveyance device owner/representative.

- Inspections and testing occur on an annual basis and passing test and inspection results are required to receive an annual Certificate of Operation from the OSFM. Electric (Traction) Elevators are required to undergo a 5-year full load test in the 5th year of the inspection cycle. 5-year full load testing in this part of the cycle will fulfill the annual test and certification requirement to receive a Certificate of Operation.

- If a conveyance device does not pass an inspection and test, a Red Tag will be placed on the equipment. Red Tags can be placed by the inspection firm, the service firm, or a State Fire Marshal official. A conveyance device that has been Red Tagged will be removed from service, locked and tagged out. It must be repaired, inspected, and certified by a licensed inspector prior to return to service. A Red Tag conveyance shall be reported to the Office of State Fire Marshal within 2 business days.

- Failure to register a conveyance device may result in an administrative penalty of no more than $250.00 per day per device against a building owner or the installing firm.

- Failure to have a conveyance device inspected annually or display a current Certificate of Operation as required by the rules may result in an administrative penalty of no more than $250.00 per day per device.

- Future guidance and information will be posted on the Office of State Fire Marshal website as it becomes available https://www.lasfm.org/licensing/conveyance-devices/.