Conveyance Device Systems and Equipment

The Conveyance Device Systems and Equipment Emergency Rule (LAC 55:V.Chapter 33) outlines specific guidance governing conveyance devices and how to comply with rules and statutes, detailed procedures, technical standards and enforcement mechanisms. The rule allows the OSFM to require the registration of conveyance devices and equipment and to require annual inspections of registered devices.

This rule also defines the critical role building owners and managers have relating to conveyance device safety for all passengers. This starts with the required registration and inspection of all conveyance devices by building owners and managers in this state.

The requirements for the enforcement of these provisions are pursuant to the authority of R.S. 40: 1646, and R.S. 40: 1664.1, et seq.

The provisions of the rule are to create and promote safety guidelines for conveyance device equipment that protect all passengers and service personnel. The rule establishes recognized industry standards for conveyance devices and service providers to ensure safe equipment operation. The use of unsafe conveyance devices can cause serious injury or fatality to passengers and service personnel. The recognition and elimination of unsafe conditions for both passengers and service personnel are in the best interest of the people of this state.

Service personnel performing work under this rule shall possess the required documented training and experience and be familiar with the safe operation of all conveyance device equipment. Conveyance device personnel must know and apply the adopted rules and standards to ensure safety for all passengers. The application of the adopted rules and standards are done through required periodic testing and inspections as per code.

Service personnel and other responsible parties must recognize and act when unsafe conditions arise that can pose danger to passengers.